Groupement Berkine SH/AAC

Route de CINA

Hassi Messaoud

Algerie

Tel +213 29 74 22 00

Fax +213 29 74 22 44

INVITATION TO TENDER

Engineering, Procurement, Installation and Commissioning of the Groupement Berkine CCTV System Replacement.

Groupement Berkine, formerly Sonatrach Anadarko Association, (referred in this document as Company and / or CONTRACTING AUTHORITY) is pleased to invite bids for the provision of Engineering, Procurement, Installation and Commissioning of the Groupement Berkine CCTV System Replacement. with the accompanying attachments and other requirements and clarifications contained in this Document.  In the event of award of a Contract sections from the tender submission will become a part of the Contract signed between Tenderer and Company.

For the purposes of this request Tenderer shall mean the enterprise, Company or group that is requested to submit a proposal in response to this Invitation to Tender (ITT). It is noted that at various points within this ITT, Tenderer may also be referred to as Contractor. This additional term is for convenience only, and no obligation on the part of COMPANY to Tenderer is intended.

Your proposal must be presented with one Original and one copy unpriced (for technical evaluation) and should be prepared in accordance with the proposed scope of work. The unpriced copies should be in sealed envelopes clearly labelled “UNPRICED”.

This Invitation to Tender consists of the following;

Part A	- Instructions to Tenderers

Part B	- Form of Tender - Technical

Part C -  Scope of Work

Part D	- Form of Contract

Please ensure that you have all items. If any item is missing, please detail omissions by email to the single point contact detailed within the Instructions to Tenderers as early as possible.

Acknowledgement of Tender

Within 72 hours, please acknowledge receipt of these tender documents and confirm your intention to Tender in accordance with the requirements of this ITT. This confirmation should be by email or Fax and addressed to the single point contact noted within the Instructions to Tenderers.

This acknowledgement fax or email should utilise the form attached to this Part A and identify the Name, Position and contact details of the nominated representative, duly authorised to act on your behalf in respect of all matters related to this ITT.

Tender Evaluation

You are advised that in recognition of the high technical content of the services required, tenders will be subject to a comprehensive technical and commercial evaluation procedure to ensure the successful Tenderer not only meets the minimum technical requirements, but provides the best overall combination of technical and commercial advantages for Groupement Berkine.

Closing dates

The latest time for receipt of Submissions by Groupement Berkine at their Siege in Hassi Messaoud has been set at 18:00 hrs on December 27th, 2013.

Any tender received after the deadline will be regarded as null and void.

Part A

Instructions to Tenderers

# INTRODUCTION

The tender document included with this Invitation to Tender (ITT) contains all necessary information for the preparation of Tenders together with detailed requirements for the structure and content of tenders. Tenderers are advised that any tenders that do not comply with these Instructions may be disqualified without further notice.

# SINGLE POINT CONTACT

The single point contact for all matters relating to this tender is as follows;

Fatima Zohra Mihi / Naouel Boukhelkhal 
Ing Contract 05
Groupement Berkine (Sonatrach/Anadarko) 
Hassi-Messaoud, Algerie 
Tel: 213-(0) 29-74-22-00/10  Ext 1-40-49
Fax: 213-(0) 29-74-22 44 
Positional E-mail: HMD-ing_contrats_5@Berkine.com

Except as provided herein, Tenderer is not permitted to contact or communicate with any member of the Company’s staff (nor staff of consultant companies engaged by the Company) on any matter relating to this ITT.

Uninvited visits to the Company’s offices by Tenderers to discuss the ITT documents or for any other purpose during the Tender period shall not be acceptable to the Company.

Failure to comply with this instruction may be just cause for the Company to disqualify a Tender.

# TENDERING INSTRUCTIONS

## Confidentiality

Tenderer shall consider all information provided by Company within this ITT and during the Tendering process to be Confidential.

Tenderer shall not disclose any related information to any person or party other than is necessary for the preparation of its Tender.

Any such permitted disclosure shall be subject to same terms of confidentiality as contained herein.

## Amendments and Clarifications

The Company reserves the right to amend, supplement or clarify the information provided within this ITT.

Any such amendments shall be issued to all Tenderers in writing no later than seven (7) calendar days prior to the closing date for receipt of Tenders.

## Clarification Meeting

It is anticipated a general open Tenderer Information Meeting to support this Invitation to Tender will be held in Hassi Messaoud during the Tender period, details will be confirmed after publication of the BAOSEM notice.

## Requests for Additional Information

Tenderer may request additional information by submitting a written request to the Company at the address email stated above in clause 2, clearly referencing this particular ITT using the proforma attached to this section.

Company will not respond to questions regarding this tender that are not in writing. Company further reserves the right to forward copies of any questions and the respective answers to each Tenderer.

Company shall treat any relevant responses to such requests as per Item 3.2. without identifying the originator of the request.

## Errors and Omissions

Should Tenderer identify any inconsistencies or errors in the ITT documents, or it is in any doubt as to the meaning thereof, it shall immediately advise the Company in accordance with the ‘Requests for Additional Information’ (Item 3.4)

Tenderer shall not be entitled to any modifications to the terms and conditions of any Contract resulting from this Tender arising as a result of omissions and errors not identified during the Tender process.

## Site Visits

A sites visit by the vendor is a pre-requisite to submit a bid. The vendor will visit the locations for review of sites and equipment before quoting to ensure proper integration of CCTV system. For foreign companies the point of mobilization is Hassi Messaoud Airport. For National personnel the point of mobilization is Hassi Berkine site (HBNS). Groupement Berkine (GB) will provide accommodation at GB site. For the site survey in Hassi Messaoud GB will provide accommodation in the Hassi Messaoud Base.

The timing for such site visit shall be notified by Company after issue of this RFQ.

All cost associated with travel to the point of Mobilisation will be at Tenderers sole cost and expense.

Tenderers will be required to agree and sign a Company standard Indemnity prior to visiting Company facilities or using transportation or other services provided by Contracting Authority.

## Algerian Content

Tenderer should endeavour to maximise the Algerian content of its Tender where practical within the technical and other parameters of this ITT.

Tenderer should quantify separately Algerian content both within its technical and commercial submissions.

# PREPARATION OF TENDERS

Tenderers are invited to examine the data provided within Part C, Scope of Work, to develop a full understanding of the range of Services that will be required by Company under the proposed contract.

Complete supplied tables and provide requested information, pro-forma tables have been included for the Tenderer to complete and include in the returned Tenders as part of the Technical Tender process. Tenderers need to ensure these tables have been included in the returned Tenders.

## Technical Submission

Tenderers should complete the technical Tender Cover letter B1, stating its registered name and address. The letter should be signed by Tenderers principal officer whose full name and position shall be printed in the space provided.

Tables B2 through to B18 should be completed. Information provided should be complete and comprehensive enough to allow full evaluation of your technical capabilities. Where requested and where required, extra sheets for extra information should be attached, clearly referencing the relevant items from the tables.

Further information to support your technical tender should be appended, as required.

Company reserves the right to conduct inspections and/or audits of Tenderers facilities and resources, to verify the information provided within the Technical Tender.

Under no circumstances should any pricing or costing information be included within the technical tender.

# SUBMISSION OF TENDER

The Submission shall consist of one original and one copy. The Original technical Tender submission should be clearly Marked “Original” and the copy marked Copy 1.

Tenderer is to ensure that their submission is delivered by courier or by hand to the Company by or before the closing date and time for receipt as stated within this Invitation to Tender, or as subsequently advised or amended by Company in writing. The address for submission of Tenders is;

Groupement Berkine SH/AAC

Route de CINA

Zone des Partenaires, SH 24 février

B. P. 394

HASSI MESSAOUD

ALGERIA

Attention: 	Mr Jim CUNNINGTON / Mr. Hemdane BOURAS

Direction Appros et Contrats

The Technical Tenders shall be contained in double sealed packages each identifying the tender reference and stating using the tender labels included as Attachment 2 - OFFRE ENVELOPPE EXTERNE (ENVELOPPE EXTERNE) and OFFRE TECHNIQUE (UNPRICED OFFER).This package should be enclosed within another package where necessary for delivery purposes, but there shall be no other marks or identification on external packages with the exception of the labelling details described above. Any indication of the name of the Bidder on the outside of such packages may result in the tender being rejected.

NOTE THAT only Bidders technically acceptable will be invited to submit a commercial sealed tender package at a later stage

# ACCEPTANCE OF TENDER

It is the intent of Company to select the most qualified Tenderer. Bids will be accepted, rejected, or awarded at the sole option and discretion of Company. Company also reserves the right to declare null and void this bid process (or any part thereof) for any reason.

The Company shall not be bound to accept the lowest, all, or, any part, of a Tender and may elect to accept a Tender (or Tenders), in part or in whole at its sole discretion.

The successful Tenderer(s), if any, will be required to enter into a formal Contract with the Company which will be on the same terms and conditions as are contained in the ITT documents, subject only to any mutually agreed modification(s).

The Company shall not be deemed to have accepted any offer unless and until both parties duly sign a Contract or the Company issues a Letter of Intent to the successful Tenderer.

The Tenderer should make due allowance for an offer open to Company acceptance for the Tender Validity as set down in section 8 of these instructions.

# COSTS OF TENDERING

All costs of Tendering shall be borne by Tenderer, including, without limitation, all costs associated with supply and delivery of the Tender documents, site visits, and visits to Company’s offices (in Algeria or elsewhere) which may be requested by the Tenderer or required by the Company.

# TENDER VALIDITY

In submitting a tender, Tenderer warrants that its Tender (including any alternative proposals) shall remain fixed, firm and valid in their entirety for a period of One Hundred and eighty (180) calendar days from the final closing date for receipt of Tenders.

# OTHER REQUIREMENTS

The contract language will be French. All correspondence, reports, and documents sent or submitted to Company will be in French or English. All Tenderer’s key personnel associated with this project are expected to have a good working knowledge of English and French.

If your bid is not made in accordance with the attachments and the requirements in this tender document, your bid may be disqualified. You must tender all services and equipment requested, after which we encourage you to bid reasonable alternatives (separately).

Part A - Attachments

Form of Acknowledgement

Tender Label – Offer Technique

Tender Label – External for Delivery

Tender Clarification Request

# GROUPEMENT BERKINE

SONATRACH ANADARKO ASSOCIATION

FORM OF ACKNOWLEDGEMENT

INVITATION TO TENDER REFERENCE RFQ-3015692

Please complete this form as provided for below, signing in the space provided and faxing or emailing a completed copy as set out above.

We _____________________________________________________________________

are in receipt of the Invitation to Tender Document for the replacement of the Groupement Berkine CCTV systems , for their development in Algeria, North Africa, and Will  /  Will Not (delete as applicable) submit a proposal by the specified due date.

Our contact for this proposal is:

Name:		_____________________________

Title:		_____________________________

Phone:		_____________________________

Fax:		_____________________________

E-mail		_____________________________

Date the ITT Document was received:  _________________________,

Signed:    _____________________________________________

Title:       _____________________________________________

Responsable   Approvisionnements et Contrats

GROUPEMENT BERKINE

BP 394, Route de Cina, Zone des Partenaires, SH 24 février

Hassi Messaoud Algérie

SOUMISSION    -   A   NE  PAS   OUVRIR

APPEL   D’OFFRES N° RFQ 3015692

THE REPLACEMENT OF THE GROUPEMENT BERKINE CCTV SYSTEMS

OFFRE TECHNIQE (UNPRICED OFFER)

Responsable   Approvisionnements et Contrats

GROUPEMENT BERKINE

BP 394, Route de Cina, Zone des Partenaires, SH 24 février

Hassi Messaoud Algérie

SOUMISSION    -   A   NE  PAS   OUVRIR

APPEL   D’OFFRES N° RFQ 3015692

THE REPLACEMENT OF THE GROUPEMENT BERKINE CCTV SYSTEMS

EXTERNAL FOR DELIVERY

Date d’arrivée ……………….Heure d’arrivée…………. …….

|  | Attention : Ing Contrats 05 Demande de Clarification de l’Offre Tender Clarification Request |  |
| --- | --- | --- |
| ITT No.: RFQ-3015692-13 TCR No. (interne GB internal use only): |  |  |
| Demandeur / Requestor |  | Réponse par / Responder |
| Nom Name: |  | Nom Name: |
| Société Company: |  | Société Company: |
| Poste Position: |  | Poste Position: |
| No. Fax: |  | No. Fax: |
| No. Tél: |  | No.Tél.: |
| E-mail: |  | E-mail: |
| Créé (Date) Raised: |  | Réponse Avant (Date) Reply By: |
| # Catégorie de Demande Request Category |  |  |
| Technique Technical Qualité Quality HSE Commercial |  |  |
| Détails de la Demande de Clarification / Clarification Request Details |  |  |
| Utiliser une autre page si nécessaire Continue on separate sheet if needed Attachements Oui Yes Non No |  |  |
| Détails de la Réponse / Response Details |  |  |
| Utiliser une autre page si nécessaire Continue on separate sheet if needed Attachements Oui Yes Non No |  |  |
| # Demandeur / Requestor |  | # Réponse par / Responder |
| Nom (Majuscules) Print name: Signature: Date: |  | Nom (Majuscules) Print name: Signature: Date: |

Part B – FORM OF TENDER - TECHNICAL

Tender Forms

Table

B1 – TECHNICAL TENDER COVER LETTER	12

Table B2: TECHNICAL PROPOSAL	13

Table B3: PREVIOUS EXPERIENCE	14

Table B4: CERTIFICATIONS/ACCREDITATIONS	14

Table B5: FACILITIES AVAILABLE	14

Table B6: ORGANISATION & PERSONNEL	15

Table B7: CONTRACTOR QA/QC SYSTEMS	15

Table B8: COMPANY HSE POLICY	15

Table B9: PROJECT PLANNING	15

Table B10 – SCHEDULE OF PROPOSED SUBCONTRACTORS / MAJOR SUPPLIERS	15

Table B11-ADMINISTRATIVE FILE	16

Table B12 – ALGERIAN REGISTRATION AND ESTABLISHMENT	17

Table B13 – DECLARATION SOUSCRIRE	17

Table B14- ETHIC RULES OF SONATRACH GROUP	19

Table B15- DECLARATION DE PROBITE	20

Table B16 - TENDER EXCEPTIONS and ALTERNATIVES	21

Table B17 - COMMERCIAL EXCEPTIONS TO CONTRACT TERMS AND CONDITIONS	21

Table B18 – TECHNICAL SUBMISSION CHECK LIST	22

B1 – TECHNICAL TENDER COVER LETTER

Date: ………….

Groupement Berkine

Route de CINA

B. P. 394

HASSI MESSAOUD

ALGERIE

Attention: Mr Jim CUNNINGTON/ Mr Hemdane BOURAS - Direction Appros et Contrats

Dear Sirs:

Subject:  INVITATION TO TENDER NO. RFQ-3015692

Tender For: The replacement of the Groupement Berkine CCTV systems

We refer to your Invitation to Tender RFQ-3015692 and have carefully examined all the Invitation to Tender (ITT) documents attached thereto and all documentation and other information issued in connection therewith.

We, the undersigned, hereby warrant that all statements and information provided in this tender are correct and that we have the expertise and resources available to perform the work described in the Invitation to Tender, as described within our Technical Tender, attached. If our subsequent commercial tender is successful, we also warrant that such expertise and resources shall be made available to Company.

The Technical Tender attached consists of tables B2 to B18, duly completed. No prices, rates or other costing information relating to the work is included within this submission.

Any queries or clarifications required by Company shall be addressed to the following;

Name:		………………………………….

Position:	.…………………………………

Fax No:	………………………………….

Email:		…………………………………..

We agree to abide by this Tender for the period of 180 days from the Closing Date for return of Tenders (or as such date may be subsequently amended), and it shall remain binding upon us and may be accepted in whole or in part at any time before the expiration of that period.

Dated this ………. day of ..............................

Signature 		(Printed Name	  …………………………….)

Position : ................................................................

duly authorised to sign this Tender for and on behalf of : …………………………………

Table B2: TECHNICAL PROPOSAL

Please confirm you are able to provide equipment to meet the requirements of the scope of Work (Part C) and provide here details of the equipment proposed in accordance with the Scope of Work to include the following requirements:

Full description of the equipment proposed

Technical compliance - Please provide a specific response to the following technical elements with a narrative explaining how your proposal meets these requirements.  Failure to comply with any of these key issues shall render his proposal rejected.

- Compatibility

  - The CCTV systems for all sites must be fully compatible with the existing El Merk system. (Cynectics, Coex).

  - The CCTV extension for the FGS’s at El Merk will be integrated in to the existing system (Cynectics, Coex).

- Compliance with Standards

  - The CCTV systems must comply with all required standards.

- Redundancy

  - The network video system will have the ability to view the CCTV cameras in multiple locations and configurations.

  - The data storage will have redundancy at another physical location connected via IP LAN.

- Operator Ease of Use

  - The CCTV viewing and maintenance tools must be restricted by user access levels.

- Expandability

  - The CCTV systems must have an expandability of 20%.

- Technical Support

  - The CCTV system must be fully technical supportable for at least 10 years.

  - The vendor must provide a 24/7/365 Helpdesk assistance with remote login to the CCTV system.

  - The vendor must propose a 2 years spare parts list.

  - warranty:

The service warranty should be, for 2 years minimum, include the hardware warranty which covers defects in materials and workmanship.

The warranty service should cover the repair of the major problem in the core system.

  - The vendor shall provide 2 years maintenance contract: The maintenance contract will start immediately after the end of the Warranty period and will cover at least the same issues as the warranty. The vendor will propose extra options to make the maintenance contract more efficient and extensive.

  - Call out contract:

The vendor shall provide a 2 years call out contract for manpower and services. It shall include at least 150 man/days and cover a period of 2 years.

The call out contract will be used for future extensions and/or modifications to the system.

The call out contract will start immediately after acceptance of the system.

8. ADDITIONAL ISSUES

The following additional technical issues will be reviewed and noted as part of the Technical Evaluation.

- Delivery Period

- Planned Schedule meets GB objectives

- Spare parts listing / requirements

- Compliance with the requested coverage areas.

- All fixed camera views will have a maximum distance of 150 meters.

- All excavation and back filling of cable trenches for power, data and earth cables will be part of the offer.

- Network Video Management Software and servers will be compatible with the current El Merk system.

- The storage system must have storage space for a minimum of 30 consecutive days of rolling video.

- The vendor will provide a detailed training plan for operating and maintenance personnel.

9. AUDIT DURING TENDER EVALUATION

Tenderer must confirm their acceptance that GB reserves the right to audit the facilities of the Tenderer as part of the Technical evaluation of tenders for this Project.

Table B3: PREVIOUS EXPERIENCE

Please provide details of your operational history in Algeria and Globally with the proposed equipment in similar conditions to those specified in the scope of Work (Part C).

The Tenderer shall provide references with details of scope of work completed for similar projects and include the following details:

- Details of similar previous engineering work relating to oil facilities:

- Descriptions of projects.

- Scopes of work performed.

- Clients.

- Years.

- Locations where work performed.

Table B4: CERTIFICATIONS/ACCREDITATIONS

Please provide details of relevant Accreditations

This must include all the necessary authorizations to sell, import, install and maintain CCTV systems in Algeria. The vendor must fully comply with the Algerian regulations concerning sensitive equipment and specifically for CCTV systems.

Table B5: FACILITIES AVAILABLE

Please provide details of your manufacturing and support facilities available to meet the requirements of the Scope of Work Part C.

Table B6: ORGANISATION & PERSONNEL

# 1.  Organisation Chart

Tenderer to provide details of proposed Organisation Chart for the performance of the services showing key personnel on the site and reporting lines back to local management.

2. Key Personnel

Please submit CV’s of proposed key personnel

3.  Algerian Content

Company is interested in the Algerian makeup of your staff.  Provide details concerning recruitment, training, and development of Algerians at all levels including engineering positions and details of the likely percentage of Algerian personnel to be assigned to any subsequent Contract.

Table B7: CONTRACTOR QA/QC SYSTEMS

Provide details of your Company’s QA/QC procedures and systems relevant to the equipment offered and your Algerian Operations.

Include copies of any relevant ISO certification your Company has in place

Table B8: COMPANY HSE POLICY

Provide details of your Company’s Health, Safety, and Environmental (HSE) Policies and Procedures as they exist today in your Algerian Operations.  Include the principle elements of the HSE program, how they are administered, and how they are monitored.

Please confirm you have understood the requirements of the Groupement Berkine HSE policy included as Annexe III to the draft Contract in Part D and are able to comply with the parts of this policy where applicable to any subsequent Contract.

Tenderer will be assessed for competence to manage any risks to which staff and sub-contractors affected by their scope of supply may otherwise be exposed.

Table B9: PROJECT PLANNING

Tenderer is required to provide an Execution plan including schedule of key activities and durations from Contract award through to final commissioning & handover of the system.

This Planning should details all key milestones including the Design Phase, Procurement and manufacturing lead times, factory acceptance testing, shipping and delivery, site mobilisation, site Installation and final site testing and commissioning.

Table B10 – SCHEDULE OF PROPOSED SUBCONTRACTORS / MAJOR SUPPLIERS

Tender should provide below details in respect of all major SubContractors (including major suppliers and vendors for the CCTV equipment and site installer where this is provided by others) it proposes to use in the performance of the Works:

- Registered name and address

- Trading name and address (if applicable)

- Information and details of the work/equipment to be provided by the subTenderer

- Details of previous similar work carried out by subTenderer

- Details of current work

- Other information

Table B11-ADMINISTRATIVE FILE

**All documents included in This table is to be joined to the technical offer

For the Algerian Companies:

| It | N A T U R E |
| --- | --- |
| 1 | Statuts du soumissionnaire |
| 2 | Extrait du registre de commerce |
| 3 | Carte d’immatriculation fiscale |
| 4 | Certificat d'activité avec bénéfice et chiffre d'affaire (formulaire C nº20) |
| 5 | Extrait de Rôles (Moins de trois mois de validité) |
| 6 | Attestation d'affiliation à la caisse de sécurité sociale |
| 7 | Attestation de mise à jour CNAS-CASNOS avec la sécurité sociale Valide (Moins de trois mois de validité) |
| 8 | Comptes certifiés pour les trois (03) dernières années [Bilan + TCR (Tableau des Comptes de Résultat)] |
| 9 | Déclaration à souscrire (selon modèle) |
| 10 | Projet de contrat paraphé |

For Foreign Companies:

| It | N A T U R E |
| --- | --- |
| 1 | Registre de commerce ou certificat ou extrait K-BIS, délivré par les organismes compétents certifiés avec des timbres fiscaux originaux par les autorités consulaires algériennes au pays du soumissionnaire. |
| 2 | *Statuts authentifiés du soumissionnaire certifiés avec timbres fiscaux originaux par les autorités consulaires algériennes du pays du soumissionnaire. |
| 3 | *Bilans comptables et TRC des 03 derniers exercices, certifiés par un commissaire aux comptes agrée ou un expert comptable. |
| 5 | *Pouvoir du signataire habilité à agir au nom et pour le compte du soumissionnaire et engageant la société. |
| 6 | *Déclaration à souscrire renseignée conformément au modèle joint au cahier des charges. |
| 7 | Projet de contrat paraphé |

If the bidder does not submit any parts or documents cited above, must present evidence for this omission

Table B12 – ALGERIAN REGISTRATION AND ESTABLISHMENT

Please provide the following information relating to your establishment in Algeria:

- Registration status with the Algerian Authorities (ie Common Law System of Tax withheld at source (withholding tax) or tax on Profits) and if applicable please provide a copy of your Statistical Identification number.

- Confirmation that all expatriate personnel will be employed in accordance with the regulations of Algeria and where required registered for local income tax CNAS etc.

- Confirmation that you are able to process applications for visas, work permits (where required) and desert passes etc for personnel working under any subsequent Contract.

5.	Algerian Content - Please provide an estimated percentage of the total level of Algerian content of the equipment and services offered for this Tender.

Table B13 – DECLARATION SOUSCRIRE

Tenderer should submit a completed Declaration à Souscrire in the following format:

DECLARATION A SOUSCRIRE

1.	Dénomination la société	:

ou raison sociale :

Registered Name of Company

2.	Adresse du siège social :

Address of Head Office

3.	Forme juridique de la société :

Type of Legal entity

4.	Montant du capital social:

Registered Capital

5.	Numéro et date d’inscription au registre de commerce :

Registered Number of Company and date of establishment

6.	Wilaya où seront exécutées les prestations faisant l’objet du marché : Ouargla

Location of Operations:

7	Nom, Prénoms, Nationalité, date et lieu de naissance du, ou des responsables statutaires de l’entreprise et des personnes ayant qualité pour engager la société à l’occasion du marché :

Surname, Forenames Nationality and date of birth of the company officer(s) and others with legal authority to bind company.

8.	Existe t-il des privilèges et nantissements inscrits à l’encontre de l’entreprise au greffe du tribunal section commerciale?

Are there any liens or commercial judgements outstanding against the company?

9.	La société est-elle en état de liquidation ou de règlement judiciaire?

Is the company in liquidation or administration?

10.	Le déclarant a t-il été condamné en application de l’ordonnance No 66 – 180 du 21 juin 1966 portant répression des infractions économiques et de l’ordonnance 95-06 du 25 janvier 1995 relative à la concurrence?

Has the undersigned been convicted under ordinance No.66-180 of 21 June 1966 regarding concealment of commercial impropriety and ordinance Nº 95-06 of 25 January 1995 regarding competition ?.

DANS L’AFFIRMATIF:

IF YES

10 a.	Date de jugement déclaratif de liquidation judiciaire ou de règlement judiciaire:

Date of involuntary liquidation or of court ruling

10 b.	Dans quelles conditions la société est-elle autorisée à poursuivre son activité :

Under what conditions is the company permitted to operate?

10 c. 	Indiquer le nom et l’adresse du liquidateur ou de l’administrateur au règlement judiciaire:

Give the name and address of the liquidator or the administrator of the judicial ruling:

11.	Le déclarant atteste que la société n’est pas en état de faillite.

The signatory certifies that the company is not bankrupt.

12.	Nom, prénoms, qualité, date et lieu de naissance et nationalité du signataire de la déclaration.

Surname, Forenames Nationality and date of birth of the signatory of this declaration.

13.	J’affirme, sous peine de résiliation de plein droit du marché ou de sa mise en régie aux torts exclusifs de la société, que la dite société ne tombe pas sous le coup des interdictions édictées par la législation et la réglementation en vigueur.

I affirm that the subject company is not operating illegally according to the current regulations.

14.	Je certifie, sous peine de l’application des sanctions prévues par l’article 216 de l’ordonnance No 66 – 156 du 08 juin 1966 portant code pénal que les renseignements fournis ci-dessus sont exacts.

I hereby certify that the details set out herein are correct and that the sanctions set out in article 216 of ordinance No.66-156 of 08 June 1966 of the penal code would otherwise apply.

Fait à 			le,

(Nom, qualité du signataire du Cocontractant

Name and position of signatory

Table B14- ETHIC RULES OF SONATRACH GROUP

See below document « Règles d'éthique de Sonatrach ». This document must to be read then initialled, stamped and signed by a senior representative of the bidder including the following mention “Lu et Accepté”

Généralités

Conformément au Dispositif de passation de Marchés de Sonatrach (Directive A-408 (R16)) du 08 avril 2010, les présentes règles sont édictées aux fins d’instruire les structures de Sonatrach ainsi que les soumissionnaires, fournisseurs, entrepreneurs, et consultants d’observer, lors de la passation et de l’exécution de marchés, les règles d’éthique professionnelles.

Le strict respect de ces règles constitue la condition essentielle pour la conclusion et la poursuite de relations contractuelles saines et durables, basées sur l’intérêt mutuel des parties et des intervenants dans le processus de passation des marchés.

Le non respect des présentes dispositions, outre la résiliation du marché concerné, expose ses auteurs à leur exclusion de soumissionner pour les marchés de Sonatrach, sans préjudice d’éventuelles poursuites judiciaires.

En vertu des présentes, Sonatrach considère que toute manœuvre frauduleuse visant à influencer ou favoriser l’attribution ou l’exécution d’un marché de Sonatrach constitue un motif d’exclusion de ses marchés.

Est considérée comme manœuvre frauduleuse notamment, toute entente ou manœuvre des soumissionnaires (avant ou après la remise de l’offre), visant à afficher des offres de prix à des niveaux ne correspondant pas à ceux qui résulteraient du jeu d’une concurrence libre et ouverte, et à priver Sonatrach des avantages de celle-ci.

1 - De la Moralité des soumissionnaires

Tout candidat ou soumissionnaire aux marchés de Sonatrach s’engage à ne payer ou à autoriser la remise d’aucune somme ou valeur, directement ou indirectement, à toute personne morale ou physique de droit public ou privé, en vue d’obtenir un marché auprès de Sonatrach.

A ce titre ;

- il garantit se porter fort du respect des présentes par ses filiales et par son personnel ;

- Il déclare et garantit qu’il n’a engagé aucune action, préalablement à la conclusion du contrat, qui serait contraire aux engagements souscrits au titre des présentes.

2 - Des activités des Fournisseurs,  Entrepreneurs et/ou Consultants

2.1 En application de ces Règles, chaque fournisseur, entrepreneur, ou consultant atteste tant pour son propre compte que pour le compte de ses filiales, employés, sous-traitants, qu’il n’a procédé ni ne procédera pour l’obtention du marché, à aucune offre, paiement, promesse ou autorisation de paiement d’une somme quelle qu’elle soit, directement ou indirectement, au profit d’un employé ou dirigeant, quel qu’en soit le rang, ou toute personne ayant un lien direct avec celui-ci et susceptible d’être à l’origine d’un conflit d’intérêt.

2.2 Le fournisseur, l’entrepreneur ou le consultant s’interdit de payer des honoraires, commission, ou la remise d’un objet de valeur quels qu’ils soient et s’interdit de traiter directement avec toute personne ou entité, intermédiaire ou autre, sachant que les résultats pourraient profiter à un employé ou autre relevant des effectifs de Sonatrach ou de ses sociétés affiliées.

2.3 Le fournisseur, l’entrepreneur ou le consultant s’engage à mettre en œuvre tous ses moyens pour empêcher que tout membre de son personnel, représentant ou mandataire ne s’engage dans une activité qui porterait préjudice aux intérêts de Sonatrach ou toute entité faisant partie de Sonatrach. Il s’engage à signaler et à éviter tout conflit d’intérêt pouvant résulter de l’exécution d’un contrat et/ou d’une prestation pour lesquels ses services sont requis.

2.4 Le fournisseur, l’entrepreneur ou le consultant s’engage et garantit qu’aucune manœuvre apparente ou cachée, visant à dissimuler des informations, de nature à tromper Sonatrach n’a été initiée avant, lors et après la signature du contrat.

A ce titre, il déclare et garantit, sous sa seule responsabilité, pour son propre compte, son personnel, sous-traitants et les sociétés affiliées, qu’il n’a connaissance d’aucune manœuvre de ce type.

2.5 Le fournisseur, l’entrepreneur ou le consultant déclare et garantit que les biens et/ ou les services proposés à Sonatrach ne souffrent d’aucun vice volontairement dissimulé, par ses employés, sous-traitants et sociétés affiliées et que les offres de prix ne résultent pas de manœuvres frauduleuses mais d’une démarche qui les rapprochent des prix pratiqués dans le marché et d’une pratique commerciale loyale.

2.6. Le fournisseur, l’entrepreneur ou le consultant s’interdit et s’engage à n’entreprendre aucune action ni aucun acte de nature ou de manière à constituer une diffamation à l’encontre de Sonatrach ou à porter atteinte à son image de marque.

2.7. La défaillance avérée dans l’exécution d’un contrat, outre la résiliation du contrat, aux torts exclusifs du fournisseur, entrepreneur ou consultant, peut exposer ses auteurs à leur exclusion de soumissionner pour les marchés de Sonatrach, indépendamment de l’application des clauses contractuelles prévues à cet effet.

3- La Déclaration de probité

Chaque soumissionnaire ou cocontractant aux marchés de Sonatrach, quelque soit leur mode de passation, leur nature, leur complexité, leur montant ou leur envergure, doit signer la déclaration de probité, conformément au modèle joint.

4-  Disposition Finale

Le fournisseur, l’entrepreneur ou le consultant atteste avoir connaissance des dispositions des présentes et déclare expressément accepter les décisions prononcées par Sonatrach, consécutivement à toute violation de ces règles.

Lu et Accepté

Raison Sociale du Soumissionnaire

Table B15- DECLARATION DE PROBITE

See below document « DECLARATION DE PROBITE». This document must to be read then completed, initialled, stamped and signed by a senior representative of the bidder.

DECLARATION DE PROBITE

La présente déclaration de Probité est souscrite conformément à la loi n°06-01 du 20 février 2006, relative à la prévention et à la lutte contre la corruption.

[La Société…dénomination], représentée par le soussigné, déclare sur l’honneur que ni elle, ni l’un de ses employés représentants ou sous traitants n’ont fait l’objet de poursuite pour corruption ou tentative de corruption d’agents publics.

[La Société…dénomination], représentée par le soussigné, s’engage à ne recourir à aucune interférence ni pratique immorale ou déloyale dans le but d’avantager ses offres par rapport aux autres concurrents.

[La Société…dénomination], représentée par le soussigné, s’interdit conformément  à la loi de promettre d’offrir ou d’accorder à quiconque, directement ou indirectement, soit pour lui-même ou pour une autre personne ou entité, des cadeaux, des voyages d’information ou de formation, des prises en charge, etc., ou tout autre avantage quel que soit sa nature ou sa valeur, dans le but de faciliter ou de privilégier le traitement de son dossier au détriment de la concurrence loyale.

En cas de découverte d’indices concordants de partialité ou de corruption, avant, durant ou après le processus de contractualisation, des mesures coercitives seront prises à l’encontre des contrevenants pouvant aller jusqu’à l’inscription sur la liste noire de Sonatrach, la résiliation du contrat et/ou des poursuites judiciaires.

Désignation de la société :

……………………………………………………………………………………………………………………

Nom et prénom du représentant légal de la société :

……………………………………………………………………………………………………………………

Le soussigné, Fait à ……………………..le………………………………              signature

Table B16 - TENDER EXCEPTIONS and ALTERNATIVES

Tenderer shall detail below any and all proposed Technical exceptions to the specific requirements of the ITT documents. These shall include all technical and/or scheduling exceptions

Table B17 - COMMERCIAL EXCEPTIONS TO CONTRACT TERMS AND CONDITIONS

Company has provided a copy of the proposed Contract form in Part D.

As part of our technical evaluation procedures, Bidders are required to confirm acceptance of these terms and conditions and proceed as follow:

Initial and Stamp all the pages of the proposed Contract form in Part D.

Mark on the signature page READ AND AGREED

*If any exceptions to the terms and conditions to the contract are raised, they must be in French and based on the contract French version.

No modifications, exceptions and/or negotiation will be accepted later.

If Company is unable to agree acceptable terms during the technical evaluation stage then your Tender will not be shortlisted for the commercial stage.

Table B18 – TECHNICAL SUBMISSION CHECK LIST

All Tenderers must be able to demonstrate technical capabilities in the areas detailed in the following table, for ease of reference please confirm the required information has been provided in the relevant tables as noted below.

| Technical Requirement | Evidence | Included YES / NO | Section |
| --- | --- | --- | --- |
| Technical Specifications for Equipment proposed to meet requirements of Scope of Work | Explanation / System Technical Specifications/ System manual references / Data Sheets |  | Required in Table B2 |
| Previous Experience | References required for similar Projects |  | Required in Table B3 |
| Delivery period + Project Schedule | Execution plan showing key dates and activities |  | Required in Table B9 |
| Technical Support 24/7 | Demonstrate ability to provide 24/7 technical support |  | Required in Table B2 item 6 |
| Contractor QA / QC system | Details of QA/ QC system with copies of relevant ISO certification |  | Required in Table B7 |
| Compatibility with Existing System | Full details required on equipment proposed to demonstrate compatibility |  | Required in Table B2 item 1 |
| Confirm available for Audit during Tender Period | Confirmation Audit of facilities is accepted during Tender period |  | Required in Table B2 item 9 |
| Administrative Compliance | Administrative documents to be provided |  | Required in Tables B11, 12, 13, 14 & 15 |
| Acceptance of Contract Terms and Conditions | Initial and Stamp all the pages of the proposed Contract form in Part D. Mark on the signature page READ AND AGREED |  | Required in Table B17 |

PART C - SCOPE OF WORK

Groupement Berkine HBNS Industrial Zone, HBBC, HMD, El Merk FGS

SCOPE OF WORK

INTRODUCTION:

Groupement Berkine SH/AAC (‘Company’) has been actively involved in the Exploration and Production of Hydrocarbons in Algeria for some years. Currently Company is producing Hydrocarbons from three fields, HBNS, HBN and HBNSE, all located in the Berkine Basin in Block 404, situated approximately 200 km South East of Hassi Messaoud and is in the construction Phase of the El Merk facility located approx  160 kms south of HBNS

HBNS (Hassi Berkine North South) Industrial Zone consist of 3 areas; CPF, Administration building and warehouse area.  All areas will be network connected for viewing by authorized personnel from each if the identified monitoring stations.  The existing analog CCTV system will be replaced with IP CCTV and network video recording for the purpose of monitoring the perimeter fence lines and entry gates of each identified area 24/7.  Day and Night viewing is required.  Additional PTZ cameras are installed to assist with monitoring and verification of activity.

HBBC (Hassi Berkine Base Camp) is the living area for the personnel and is situated 3Km from the Industrial Zone. The existing analog standalone CCTV system will be replaced with IP CCTV and network video recording for the purpose of monitoring the perimeter fence lines and entry gates of each identified area 24/7.  Day and Night viewing is required.  Additional PTZ cameras are installed to assist with monitoring and verification of activity.

HMD (Hassi Messaoud) is the administrative center for GB and provides a typical range of corporate services including IT and Telecommunications (IT&T), Security, Human Resources and Finance. It is also the primary location for the subsurface and reservoir management teams.

The existing analog standalone CCTV system will be replaced with IP CCTV and network video recording for the purpose of monitoring the perimeter fence lines and entry gates of each identified area 24/7.  Day and Night viewing is required.  Additional PTZ cameras are installed to assist with monitoring and verification of activity.

El Merk is a new field where a new plant similar to HBNS is been developed. The CCTV vendor for this project is Cynectics.

Ten (10) new Field Gathering Stations (FGS) will be built in the area and need to have CCTV installed and fully integrated with the existing IP CCTV system.

Concept of Coverage

The camera coverage shall be designed to monitor the perimeter of the fence and specified gate locations with full and complete coverage. A number of cameras will assist with remote controlled operations in defined areas. Camera distances shall not extend further than 150m.  The lens shall be focused to provide an optimal viewing screen to detect and identify suspicious activity during day and night monitoring.  Camera placement shall overlap each view to insure 100% coverage of the fence line.  Additionally, the use of multi feed cameras will allow for a zoomed in focused view and a wide angle view from the same camera.  All camera feeds must be integrated for viewing live 24/7 and reviewable footage 24/7 for 30 consecutive days of rolling video storage.  Data storage will have redundancy at another physical location connected via IP LAN. CCTV feeds must be available to multiple individuals for viewing via web access.

SCOPE OF WORK:

The broad scope of services covered under this proposal is as indicated below:

- This is a turnkey project.

- The proposed solutions will be fully compatible with the El Merk system installed and commissioned by Cynectics (COEX). Technical details of this system can be acquired during the site survey.

- The scope of work for this tender includes design, cabling, cameras, network video recording equipment, and camera licenses, network video management software, installation, testing and commission of perimeter and area surveillance thru CCTV system.  The vendor shall be able to re-configure the existing analog system transmitting over fiber optics to an IP network video system.

- A site visit by the vendor is a pre-requisite to submit a bid. The vendor will visit the location for review of site and equipment before quoting to ensure proper integration of CCTV system. For foreign companies the point of mobilization is Hassi Messaoud Airport. For National personnel the point of mobilization is Hassi Berkine site (HBNS). Groupement Berkine (GB) will provide accommodation at GB site. For the site survey in Hassi Messaoud GB will provide accommodation in the Hassi Messaoud Base.

- Vendor will organize a Factory Acceptance Test (FAT) prior to the shipping of the equipment. The FAT will be witnessed and accepted by the client.

- Vendor to provide all the complete and necessary materials (Installation material for camera viz. bolts base plate, pipes, supports, channels, angle) required for installing the CCTV camera assembly properly.

- Vendor will be responsible for the removal of existing cameras, circuit boards, controls and head end equipment to be provided to the Company representative. Existing fiber optic cabling will remain.

- The contractor shall not be entitled to sublet, subcontract or assign the work established within the current scope without the Company’s consent in writing.

- Vendor will provide full site drawings indicating cabling, camera locations, monitoring stations, and network equipment and tower design.  Final design shall be approved by the Company representative

- Vendor will review all locations and camera positions for Class 1 Division 2 explosion proof requirements. (U.S. Department of Labor, NEC National Electric Code)

  - Vendor will suggest alternative locations that will maintain required view outside of Class 1 Division 2 area.  The Company representative must approve final camera positioning before vendor quote.

  - Vendor will specify and quote the appropriate equipment if Class 1 Division 2 equipment is required.

- Change orders – All change orders must be approved by the Company representative.  The Vendor will provide pricing and parts information to confirm that all specifications are met when a change order is submitted.

- All necessary arrangements of tools / tackles / equipment / machinery as required for carrying out the work at site will be made by the Vendor with coordination through Company representative.

- All parts shall be guaranteed against any defects or poor workmanship for a period of 24 months from the date of commissioning.  Any defects observed during this period shall be rectified / replaced free of charge within 2 weeks of written notification by the Company representative.

- Existing network fiber optics, poles, mounting brackets and identified equipment will be reviewed and tested for utilization in the current upgrade project.

- All fixed camera views will have a maximum distance of 150m.  Vendor must evaluate the current pole configuration to insure that all cameras meet the 150m requirement.

  - Additional poles, fiber optics and associated equipment will be identified by the vendor and included as part of the quoted scope of work.

  - Alternative mounting locations may be identified for review and discussion with Company representative.  Decision will be based on access to area and camera view coverage

  - All required patch cords, media convertors, conduit, route marker, bracket kit, cabling, power supplies will be identified by the vendor and included as part of the quoted scope.

  - Excavation and back filling of cable trench for power, data and earth cables for camera installation will be identified by the vendor and included as part of the quoted scope of work.

  - All excavation, power and data work will be coordinated and reviewed with the appropriate Company contact before any work is completed.

  - Vendor shall submit the drawing of additional camera pole & its mounting kit along with the quote. Minimum height of pole shall be equivalent to current pole standard.

- Vendor will evaluate the lighting for night time viewing. Low light viewing for a distance of 150m with the ability to determine a human form to include type of clothing and activity being performed will be required.

- The requirement for illumination will be determined by the company representative based on the results of the testing by the Vendor.  If illumination is required; Vendor will supply (RayMax 200 Fusion Adaptive Illumination or comparable illuminator) a low voltage infra-red solution providing wide angle coverage for a minimum of 150m.  Vendor will provide all mounting and installation equipment.  The necessary power, data and earth cabling will be terminated and loop checked as per the attached specifications.  Illuminator Specifications

- Vendor to supply multi feed IP based 5.0 Megapixel fixed cameras (IQ Invision IQeye model 855 or comparable camera), appropriate viewing lens based on location and area of coverage and mounting accessories as per the attached specifications.  Fixed Camera Specification

- Vendor shall provide a proper sunshade sheet for the camera and all the junction boxes used shall conform to IP 65 and Vendor shall submit the required test certificate for conformance.

- Vendor to supply IP based Pan Tilt and Zoom (PTZ) cameras (Axis model 215 PTZ or comparable camera), appropriate outdoor housing (Axis model T95A dome housing) and mounting accessories as per the attached specifications.  PTZ Camera Specification  PTZ Dome Housing

- All entrance / gate areas shall be configured to have a fixed camera wide view of the gate entrance area for viewing and identification of vehicle type entering the gate

- All entrance / gate areas shall be configured to have a fixed camera narrow view that can capture the vehicle license plate and driver. The use of the multi feed fixed camera shall allow for a narrow focus on each of the designated areas.

- Vendor to supply Network Video Management Software, Network Video Management server and storage hardware.

  - System will support multiple resolution options to include QVGA, CIF, VGA, D1 and multiple megapixel resolutions.

  - System will support multiple frame rates

  - System will support compression options for MPEG-4 and MJPEG.

  - System recording options will include network video input, continuous, time-lapse, event-driven, and synchronization of audio and video.

  - System will support industry standard, off the shelf hardware extended storage options to include Direct-Attached Storage (DAS), Network Attached Storage (NAS) or Storage Area Network (SAN).

  - System will support options to occur on event to include PTZ movement, auto launch camera view, monitoring alerts and recording.

- Network video system will be designed so that CCTV cameras can be viewed in multiple locations and configurations.

  - All camera views must be available on multiple LCD/LED or equivalent monitors within the guard room.

  - All configurable alarms must alert at the appropriate monitoring location.

  - Additional client licenses allowing for camera viewing shall be available for identified authorized personnel (Security Supervisor, Security Manager, Facility Manager, Operations room, remote monitoring, etc.)

- Vendor will be required to provide calculations to determine the necessary video storage capability to store recorded video for each camera a minimum of 30 consecutive days of rolling video. Data storage will have redundancy at another physical location connected via IP LAN. Storage hardware, server space and backup system will be determined and quoted based on the calculations.

- Vendor will make sure all systems are designed for 20% expandability.

- Vendor will supply & install suitable Surge Protection Device for AC /DC at input and output and other Ethernet links. System should have protection against short circuit and reverse polarity of supply.

- Vendor will establish project timeline and measurable benchmarks to be provided to and agreed upon by the Company representative prior to the start of the project.

- Vendor will provide system drawings, system manuals and specification sheets for all equipment used in this project.

- Vendor will provide the Company representative with a training outline to be initiated after commissioning.  Vendor will provide an agreed upon training period, 2 sessions separated by 28 days, each a minimum of 8 hours to identified Company personnel for system use and an additional 8 hours for system administration. Minimum 32 hours for maintenance and troubleshooting of the system for Telecom personnel.

- Vendor will provide the Company representative with a punch list of items and completion dates to rectify the issues identified during commissioning and testing.

- The Company representative and Vendor must agree and sign off on final completion of project.

- Vendor will propose 2 years of spares listing for client’s approval.

- Vendor will provide 24/7/365 Helpdesk assistance with remote login to the system for maintenance and troubleshooting.

- The service warranty should be, for 2 years minimum, include the hardware warranty which covers defects in materials and workmanship.

The warranty service should cover the repair of the major problem in the core system.

- The vendor shall provide 2 years maintenance contract: The maintenance contract will start immediately after the end of the Warranty period and will cover at least the same issues as the warranty. The vendor will propose extra options to make the maintenance contract more efficient and extensive

Vendor will provide a 2 years maintenance service executed by an Algerian representative. Maintenance and troubleshooting service will require a qualified Engineer to be on site within 48 hours of helpdesk notification by the client.

- Call out contract:

The vendor shall provide a 2 years call out contract for manpower and services. It shall include at least 150 man/days and cover a period of 2 years.

The call out contract will be used for future extensions and/or modifications to the system.

The call out contract will start immediately after acceptance of the system.

- All Vendors will ship materials forming part of the permanent installation to the GB freight forwarder in Marseille under the Incoterm FCA. GB will ship the material to Algeria, customs clear and deliver to site for installation by the contractor. All Installation tools and equipment required by the Vendor that will not remain on site after completion of their services on site must be either provided locally or imported on a temporary basis under a Carnet ATA.

Groupement Berkine  responsibilities:

- Accommodation and Subsistence at field location.

Company shall provide at no charge to Contractor, accommodation and messing for Contractor’s personnel at Company’s sits: Hassi Messaoud, Hassi Berkine and El Merk.

- In-country Transportation to field location

Company shall provide transportation to and from the field location at no charge to Contractor’s Personnel from arrival at the mobilization point at the commencement of project and on return to the mobilization point at the end of the assignment.

For the Purposes of the Contract the mobilization point shall be Hassi Messaoud Airport, the Contractor will be responsible for all costs associated with mobilization to this point. Other than for the transport obligations provided by Company above, Contractor will be fully responsible for all other transport arrangements associated with their personnel for mobilization and demobilization including emergency evacuation for medical emergencies or for any other reason to return their personnel to the point of origin.

- Personnel Documentation

Any and all costs associated with obtaining required travel documentation including visas and work permits as may be required by the Algerian regulations will be to Contractor’s account and responsibility.

- Medical Facilities

Company shall allow Contractor’s personnel working at the field location access to Company’s medical facilities in Hassi Berkine and El Merk at no charge to Contractor.

Contractor shall ensure that Contractor’s personnel are medically fit to work in Algeria, and are covered by medical insurance which shall include cover for medical evacuation of Contractor’s personnel if Company’s medical advisors and/or local doctors deem medical evacuation is necessary.

Part D – FORM OF CONTRACT

The following Contract form will be utilised for any subsequent Contract and is included for TENDERER’s final review. TENDERER shall specifically indicate acceptance of the Terms and Conditions in their Tender resubmission.

Attached hereto is the draft Contract Form